## UpgradesInEachVersion (JP)
サービスツール変更点一覧
Ver. | 変更点 | 備考（制限事項等）
v1.020 | ・初期リリース
v1.030 | ・対応機種に09春製品を追加 ・ウェット液消費量登録機能を追加（09春製品以降の対象機種のみ）
v1.050 | ・対応機種に09秋製品を追加 ・ノズルチェックパターン印刷を追加（09秋製品以降の対象機種のみ） ・統合印字パターン印刷を追加（09秋製品以降の対象機種のみ）
v1.073 | ・対応機種に10春製品を追加 ・EEPROMのデータを表示/保存する機能を追加（10春製品以降の対象機種のみ） ・LF/EJ補正値の印刷サイズにLTRを追加（10春製品以降の対象機種のみ） ・自動吸引機能（デフォルト:OFF）を追加（10春製品以降の対象機種のみ） ・スキャナ個体ばらつき調整モードを追加（10春製品以降の対象機種のみ）
v1.074 | ・障害対応
v2.000 | ・対応機種に10秋/11春製品を追加 ・ツール画面の2タブ化（Main/Other）を実施 ・EEPROMクリア機能を削除 ・Panelのランクを設定する機能を追加（10秋製品以降の対象機種のみ） ・仕向地設定にEMBを追加（10秋製品以降の対象機種のみ） ・自動LF/EJECT補正量を設定する機能を追加（10秋製品以降の対象機種のみ） ・時刻設定を行う機能を追加（11春製品以降の対象機種のみ） ・ヘッドDiセンサ補正機能を追加（11春製品以降の対象機種のみ）
v3.000 | ・対応機種に11秋製品を追加 ・サービスツールの内部仕様変更 ・簡易検査機能を追加（11秋製品以降の対象機種のみ）
v3.200 | ・MP270で動作しない不具合を修正
v3.400 | ・対応機種に12春/12秋製品を追加
v3.600 | ・対応機種に13春製品を追加
v3.900 | ・対応機種に13秋製品を追加 ・User Parameter Reset機能を追加（13秋製品以降の対象機種のみ）
v4.100 | ・信頼性向上
v4.200 | ・対応機種に14春製品を追加
v4.420 | ・対象機種に14秋製品を追加 ・クリーニング項目の追加 ・タッチパネルキャリブレーション機能の追加 ・ユーザーモード自動吸引 OFF機能の追加 ・通紙耐久テスト機能の追加
v4.421 | ・iB4000でAutoチェックがハングアップする不具合を修正
v4.620 | ・対応機種に15春製品を追加 ・通紙耐久モード（A3）を追加
v4.718 | ・対応機種に15秋製品を追加 ・サービスツールUI画面にPro機用タグを追加
v4.720 | ・サービスツールUI画面（Proタグ）の下記機能を削除 Dump SAVE、Head Dump Save
v4.904 | ・対応機種に16秋製品を追加 ・本体シリアル№書き込み機能追加 ・エラーコード表示機能追加 ・CD-R位置補正値クリア機能追加
v4.906 | サービスツールUI画面（Proタグ）にPRO-1000/PRO-500専用機能追加 ＜P/S Head Info＞ ・Preparation ボタン ・Read ボタン
v4.907 | 16春以前の製品はTest Print実行時に給紙口選択画面を出さないように修正 ・詳細については修正内容シートを参照
v5.006 | ・対応機種に17秋製品を追加
v5.007 | サービスツールUI画面（Mainタグ＆Proタグ）の仕向設定機能の修正 ・V5.006のSet Destination（仕向設定）にて、「Region」プルダウンで仕向国を選択し「Set」ボタンを押下しても設定が変更されない不具合の修正
v5.103 | ・対応機種に18春製品を追加
v5.204 | ・対応機種に18秋製品を追加 ・サービスツールUI画面（Mainタグ）にLOG Save 機能を追加
v5.301 | ・対応機種に19春製品(TS700 series / TR703)を追加
※サービスツールは上位互換ですので、最新版を使用して下さい
※機種により、対応している機能が異なります（対応機能の詳細はサービスマニュアル参照）

## UpgradesInEachVersion (E)
Upgrades In Each Version
Ver. | Changes | Remarks (Limitations, etc.)
v1.020 | - Initial release
v1.030 | - 2009 1H models are supported. - The function to register the wetting liquid amount is added (usable for the applicable 2009 1H and later models only).
v1.050 | - 2009 2H models are supported. - The function to print the nozzle check pattern is added (usable for the applicable 2009 2H and later models only). - The function to print the unified inspection pattern is added (usable for the applicable 2009 2H and later models only).
v1.073 | - 2010 1H models are supported. - The function to display and save the EEPROM data is added (usable for the applicable 2010 1H and later models only). - LTR-sized paper is supported for printing the LF / EJ correction values (usable for the applicable 2010 1H and later models only). - The automatic cleaning function (disabled by default) is added (usable for the applicable 2010 1H and later models only). - The function to adjust individual scanners is added (usable for the applicable 2010 1H and later models only).
v1.074 | - Problem rectification
v2.000 | - 2010 2H models are supported. - The tool dialog consists of two sheets (Main and Other). - The function to reset the EEPROM (and the serial number data) is deleted. - The function to set the operation panel sensitivity rank is added (usable for the applicable 2010 2H and later models only). - "EMB" is added to the destinations (available for the applicable 2010 2H and later models only). - The function to set the LF / Eject correction values automatically is added (usable for the applicable 2010 2H and later models only). - The function to set the time is added (usable for the applicable 2011 1H and later models only). - The function to correct the print head Di sensor is added (usable for the applicable 2011 1H and later models only).
v3.000 | - 2011 2H models are supported. - The internal specifications of the Service Tool are modified. - The "One-Click Inspection" mode is added (available for the applicable 2011 2H and later models only).
v3.200 | - The problem where the tool did not operate on the MP270/MP276 is rectified.
v3.400 | - 2012 1H&2H models are supported.
v3.600 | - 2013 1H models are supported.
v3.900 | - 2013 2H models are supported. - The function to correct the user parameter reset is added (available for the applicable 2013 2H and later models only).
v4.100 | - Reliability improvement
v4.200 | - 2014 1H models are supported.
v4.420 | - 2014 2H models are supported. - The function to print head cleaning Bk is added. - The function to print head cleaning CL is added. - The function to set the operation panel calibration is added. - The function to set the no automatic purging is added. - The function to endurance check pattern print is added.
v4.421 | - The problem where the test in the Auto tab hangs up on IB4000 series is rectified.
v4.620 | - 2015 1H models are supported. - The function to 「Paper Feed Endurance (A3)」 is added
v4.718 | - 2015 2H models are supported. - The Pro tab is added to the Service Tool screen.
v4.720 | - The functions, "Dump SAVE" and "Head Dump Save," in the Pro tab are deleted.
v4.904 | - 2016 2H models are supported. - The function to write the printer serial number to the main PCB is added. - The function to display the error code is added. - The function to reset the Disc Label print position correction values is added.
v4.906 | - The exclusive functions for PRO-1000 and PRO-500 are added in the Pro tab. P/S Head Info section: "Preparation" and "Read"
v4.907 | - The service tool is modified so that the window for selecting paper source is not displayed when executing Test Print for 2016 1H or before models. - For details, refer to the "Revision" tab.
v5.006 | - 2017 2H models are supported.
v5.007 | - An error in destination settings of Service Tool, Main and Pro tabs, is rectified. In v5.006, the destination was not changed even when one was selected from the Region pull-down menu in Set Destination and Set was clicked. In v5.007, it is rectified.
v5.103 | - 2018 1H models are supported.
v5.204 | - 2018 2H models are supported. - The LOG Save function is added to the Main tab of the Service Tool UI screen.
v5.301 | - 2019 1H models (TS700 series, TR703) are supported.
Note: | The Service Tool is upper compatible. Always use the latest version.
Available functions differ depending on the model. (For details, refer to the Service Manual for each model.)

## VersionTable
Service Tool: Supported Models and Tool Versions
| Release date | 2008 2H | [10 empty] | 2009 1H | [6 empty] | 2009 2H | [8 empty] | 2010 1H |  |  |  |  | 2010 2H | [6 empty] | 2011 1H | [6 empty] | 2011 2H | [7 empty] | 2012 1H | [6 empty] | 2012 2H | [10 empty] | 2013 1H | [5 empty] | 2013 2H | [7 empty] | 2014 1H | [7 empty] | 2014 2H | [12 empty] | 2015 1H |  |  |  | 2015 2H | [10 empty] | 2016 2H | [12 empty] | 2017 2H | [8 empty] | 2018 1H |  |  |  | 2018 2H |  |  |  | 2019 1H
|  | SFP |  |  | MFP | [7 empty] | SFP |  | MFP |  |  | FAX |  | SFP |  | MFP | [6 empty] | SFP | MFP |  |  | SFS | SFP | MFP | [5 empty] | SFP |  | MFP |  |  |  |  | SFP | MFP | [6 empty] | SFP | MFP | [5 empty] | SFP |  |  | MFP | [7 empty] | MFP | [5 empty] | MFP | [7 empty] | SFP |  |  |  | MFP |  |  |  | SFP |  | MFP | [10 empty] | SFP |  | MFP |  | SFP | MFP | [7 empty] | SFP |  | SFP | MFP | [11 empty] | SFP |  | MFP | [6 empty] | SFP | MFP |  |  | MFP |  |  |  | SFP
|  | iP1900/iP1980 | iP3600/iP3680 | iP4600/iP4680 | MP190/MP198 | MP240/MP245 | MP260/MP268 | MP480/MP486 | MP540/MP545 | MP620/MP628 | MP630/MP638 | MP980/MP988 | Pro9000II | Pro9500II | MX320/MX328 | MX330/MX338 | MX860/MX868 | JX210 | JX510 | iP4700/iP4760 | iX7000 | MP250/MP258 | MP272 | MP492 | MP550/MP558 | MP560/MP568 | MP640/MP648 | MP990/MP996 | iP2700/iP2770 | MX340/MX347/MX348 | MX350/MX357/MX358 | MX870/MX876 | 9000F | iP4800 series | MP490 series | MP280 series | MG5100 series | MG5200 series | MG6100 series | MG8100 series | iX6500 series | Pro-1 | MP493 | MX360 series | MX410 series | MX420 series | MX880 series | iP4900 series | MG2100 series | E500 | MG3100 series | MG4100 series | MG5300 series | MG6200 series | MG8200 series | iP1188 | MX370 series | MX430 series | MX510 series | E600 | MX710 series | MX890 series | iP7200 series | PRO-10 | PRO-100 | MG6300 series | MG5400 series | MG4200 Series | MG3200 Series | MG2200 Series | E517/E518 | MP230 Seriese | 9000F MKII | MX390 series | MX450 series | MX520 series | E610/Ｅ618 | MX720 series | MX920 series | MG2400 series | P200 | MG2500 series | MG3500 series | MG5500 series | MG6400 series | MG6530 | MG7100 series | iP8700 series | iX6800 series | iX6700 series | iP2800 series | MX530 serise | MX470 series | E560 serics | E400 series | iP110 | iB4000 | MB2000 | MB2300 | MB5000 | MB5300 | MG2900 | E460 | MG5600 | MG6600 | MG6730 | MG7500 | MG7530F | PRO-100S | PRO-10S | MX490 series | E480 series | PRO-1000/PRO-500 | MG3600 series | MG5700 series | MG6800 series | MG6930 | MG7700 series | MG2570S/MG2580S | G2000 series | G3000 series | iP2870S/iP2880S | G1000 series | iB4100 series | MB2100 series | MB2700 series | MB5100 series | MB5400 series | TS5000 series | TS6000 series | TS8000 series | TS9000 series | MG3000 series | E410 series | E470 series | G4000 series | TS200 series / E200 series | TS300 series / E300 series | TS3100 series / E3100 series | TS5100 series | TS6100 series | TS8100 series / XK50 | TS9100 series / XK70 | TR7500 series | TR8500 series | G1010 series | G2010 series | G3010 series | G4010 series | TR4500 series / E4200 series | TS6200 series | TS8200 series / XK80 | TS9500 series / TR9530 | TS700 series / TR703
v1.020 | Released |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v1.030 | 2009-03-24 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v1.050 | 2009-06-22 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v1.073 | 2010-02-19 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y
v1.074 | 2010-03-15 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y
v2.000 | 2010-09-29 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y |  |  | Y
v3.000 | 2011-06-27 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v3.200 | 2011-06-27 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v3.400 | 2012-02-23 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v3.600 | 2013-02-06 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v3.900 | 2013-07-08 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v4.100 | 2013-09-10 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
v4.200 | 2013-12-18 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V4.420 | 2014-07-11 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V4.421 | 2014-07-11 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V4.620 | 2015-02-02 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V4.718 | 2015-07-31 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V4.720 | 2016-02-01 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V4.904 | 2016-06-09 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V4.906 | 2016-09-02 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V4.907 | 2017-02-01 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V5.006 | 2017-07-03 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V5.007 | 2017-08-07 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V5.103 | 2017-11-27 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V5.204 | 2018-06-13 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
V5.301 | 2018-12-13 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Y: Supported
Note: | The Service Tool is upper compatible. Always use the latest version.
Available functions differ depending on the model. (For details, refer to the Service Manual for each model.)

## UI & 機能概要 (JP)
Service Tool UI & 機能（新機能は赤字で記載）
＜Main＞ |  |  | ＜Other＞ | ＜Auto＞
タブ | 機能グループ | 機能名 | 機能概要 | パラメータ
Main | Print | Test Print | サービスパターンを印刷する
|  | EEPROM | EEPROM情報を印刷する | Rear Tray,Cassette,Cassette2
|  | Nozzle Check | ユーザノズルチェックパターンを印刷する | Rear Tray,Cassette,Cassette2
|  | Integration | 統合サービスパターンを印刷する | Rear Tray,Cassette,Cassette2
|  | Auto Cleaning | 自動吸引をONにする
| Cleaning | Cleaning | クリーニングを実行する
|  | Deep Cleaning | ヘッドリフレッシングを実行する
| Operation | EEPROM Save | EEPROM情報の表示と保存を行う
|  | LOG Save | プリンタの動作ログを保存する
|  | Panel Check | 操作パネルのチェックを行う
| Set Destination | Region | 仕向地設定を行う | JPN,KOR,USA,EUR,AUS,ASA,CHN,TWN,LTN,BRA,CND,EMB
| Clear Ink Counter | Absorber | 廃インクカウンタをクリアする | Main,Platen,Main(BK), Main(CL), Platen(AW), Platen(HM),All
| Ink Absorber Counter | Absorber | 廃インク吸収体容量の設定を行う（設定箇所） | Main,Platen,Main&Platen,Main(BK), Main(CL), Platen(AW), Platen(HM)
|  | Counter Value(%) | 廃インク吸収体容量の設定を行う（設定値） | 0,10,20,30,40,50,60,70,80,90
| New Function | Cleaning Bk | Bkのみマニュアル吸引を実行する
|  | Cleaning Cl | CLのみマニュアル吸引を実行する
|  | Calibration | タッチパネルの押下位置の補正を行う
|  | User Cleaning OFF | サービスモード終了後、ユーザーモードで立ち上げた際に吸引動作を実施しない。（マニュアル吸引は実施可）
|  | Write S/N | 本体シリアル№の書き込みを行う
|  | Error Status | 本体エラー発生時にエラーコードを表示する
| Paper Feed Endurance | A4 | A4用紙の通紙耐久を実施 | Rear Tray,Cassette,Cassette2 50copy / 100copy
|  | Duplex | 両面印字の通紙耐久を実施 | Rear Tray,Cassette,Cassette2 50copy / 100copy
|  | A3 | A3用紙の通紙耐久を実施 | Rear Tray,Cassette,Cassette2 50copy / 100copy
|  | Hagaki | はがきの通紙耐久を実施 | Rear Tray,Cassette 10copy / 20copy
Other | CD-R Correction | Print | CD-Rチェックパターンを印刷する
|  | Zero | CD-R位置補正値をクリアする | （0,0）
|  | X,Y | CD-R印字位置の調整を行う | -1.0,-0.8,-0.6,-0.4,-0.2,-0.1,0,+0.1,+0.2,+0.4,+0.6,+0.8,+1.0
| LF/EJECT Correction | Print | LF/EJECTの補正パターンを印刷する | Rear Tray,Cassette HR-101,GF-500 Office,HP BrightWhite,Canon Extra,STEINBEIS,PR-201,SG-201 No,Yes A4,LTR
|  | LF | LFの補正値を設定する | Pattern0, Pattern1, Pattern2, Pattern3,Pattern4
|  | EJECT | EJECTの補正値を設定する | Pattern0, Pattern1, Pattern2, Pattern3,Pattern4
| Auto LF/EJ(1) | Print | LF/EJECTの補正パターンを印刷する | A4,LTR
|  | Scan | 出力されたLF/EJECT補正パターンの読込を行う
| Auto LF/EJ(2) | Print | LF/EJECTの補正パターンを印刷する
|  | Scan | 出力されたLF/EJECTの補正パターンを読み込む
|  | Blank Paper | 白紙の給排紙を行う
| Left Margin Correction | Print | 左端余白の補正用パターンを印刷する
|  | Paper Source | 左端余白の補正用パターン給紙位置を指定する | Rear Tray:Back,Cassette:Front,Cassette:Back
|  | Correction Value | 左端余白の補正値を設定する | -3,-2,-1,+1,+2,+3
| Operation | Set Time | PCの時刻をプリンタに設定する
|  | PTT Parameter Mode In | PTTパラメータモードへの移行を可能にする
|  | User Parameter Reset | ユーザー設定値のリセットを行う
|  | Ink Sensor | 圧力センサのバラツキを補正する
|  | Head Temp Sensor | ヘッドのダイオードセンサを補正する
| Wetting Liquid Counter | Counter Value(%) | ウェット液の消費量設定を行う | 0,10,20,30,40,50,60,70,80,90
| Panel Rank | Rank | 静電パネルの感度調整を行う | Rank0,Rank1,Rank2,Rank3
| Flatbed Scanner | Set | フラットベッドスキャナの個体バラツキ調整を行う
Auto | Auto | Test Print | サービスパターンを印刷する | Rear Tray,Cassette
|  | EEPROM Print | EEPROM情報を印刷する | Rear Tray,Cassette
|  | Copy | コピーを1枚実行する | Rear Tray,Cassette
|  | ADF Copy | ADFからのコピーを1枚実行する | Rear Tray,Cassette
|  | LAN | LAN機能のチェックを行う
|  | WLAN | WLAMボードのチェックを行う
|  | Card Board | カードボードのチェックを行う
|  | Pict Bridge | ピクトブリッジのチェックを行う
Pro |  | Test Print | サービスパターンを印刷する |  | < Pro >
|  | EEPROM | EEPROM情報を印刷する
| Print | Nozzle Check | ユーザノズルチェックパターンを印刷する
|  | Integration | 統合サービスパターンを印刷する
|  | Auto Cleaning | 自動吸引をONにする
|  | Cleaning | クリーニングを実行する
| Cleaning | Deep Cleaning | ヘッドリフレッシングを実行する
|  | User Cleaning OFF | サービスモード終了後、ユーザーモードで立ち上げた際に吸引動作を実施しない。（マニュアル吸引は実施可）
|  | User Parameter Reset | ユーザー設定値のリセットを行う
|  | Panel Check | 操作パネルのチェックを行う
| Operation | Ink Filling | 初期インク充填を行う
|  | Set Time | PCの時刻をプリンタに設定する
|  | Ink Sensor | 圧力センサのバラツキを補正する
|  | Head Temp Sensor | ヘッドのダイオードセンサを補正する
|  | EEPROM save | EEPROM情報の表示と保存を行う
| Data Save | Color Calib Save | カラーキャリブレーション情報を保存する
|  | Media Save | メディア情報を保存する
| Set Deatination | Region | 仕向地設定を行う
| P/S Head Info | Preparation | P/Sヘッド情報保存の事前準備
|  | Read | P/Sヘッド情報の読み出し保存
| Ink Absorber Counter | Counter Value(%) | 廃インク吸収体容量の設定を行う
|  | Print | LF/EJECTの補正パターンを印刷する
| Auto LF/EJ(2) | Scan | 出力されたLF/EJECTの補正パターンを読み込む
|  | Blank Paper | 白紙の給排紙を行う
| Auto LF/EJ(3) | Print | LF補正を行う
| Wetting Liquid Counter | Counter Value(%) | ウェット液の消費量設定を行う
| Clear Platen Pump Counter | Set | プラテンポンプのカウンターをクリアする
|  | Head Alignment（Auto） | ヘッド位置調整を行う
| Alignment | Dynamic Head Alignment | キャリッジ位置によって発生するインク着弾のズレを補正する
|  | Multi Sensor Alignment | マルチセンサーの取り付け誤差を補正する
※新機能を実行する場合は、必ず当該製品のサービスマニュアルを参照してください。

## UI & Function (E)
Service Tool UI & Functions (red: new function)
< Main > |  |  | < Other > | < Auto >
Tab | Section | Button | Function | Parameter
Main | Print | Test Print | Prints the service pattern.
|  | EEPROM | Prints the EEPROM information. | Rear Tray,Cassette,Cassette2
|  | Nozzle Check | Prints the nozzle check pattern. | Rear Tray,Cassette,Cassette2
|  | Integration | Prints the integrated service pattern. | Rear Tray,Cassette,Cassette2
|  | Auto Cleaning | Enables automatic print head cleaning when selected.
| Cleaning | Cleaning | Performs print head cleaning.
|  | Deep Cleaning | Performs print head deep cleaning.
| Operation | EEPROM Save | Displays or saves the EEPROM information.
|  | LOG Save | Saves the log of the printer operation.
|  | Panel Check | Checks the operation panel.
| Set Destination | Region | Sets the destination. | JPN,KOR,USA,EUR,AUS,ASA,CHN,TWN,LTN,BRA,CND,EMB
| Clear Ink Counter | Absorber | Resets the ink absorber counter. | Main,Platen,Main(BK), Main(CL), Platen(AW), Platen(HM),All
| Ink Absorber Counter | Absorber | Selects the ink absorber counter to be set. | Main,Platen,Main&Platen,Main(BK), Main(CL), Platen(AW), Platen(HM)
|  | Counter Value(%) | Sets the value to the selected ink absorber counter. | 0,10,20,30,40,50,60,70,80,90
| New Function | Cleaning Bk | Manual cleaning of Black.
|  | Cleaning Cl | Manual cleaning of Color.
|  | Calibration | Calibrate the touch screen.
|  | User Cleaning OFF | Disabling of automatic print head cleaning at start of the printer in the user mode after exit from the service mode. (Manual print head cleaning can be performed.)
|  | Write S/N | Writes the printer serial number to the main PCB.
|  | Error Status | Displays an error code that occurs in the printer.
| Paper Feed Endurance | A4 | Checks A4 paper feeding endurance. | Rear Tray,Cassette,Cassette2 50copy / 100copy
|  | Duplex | Checks paper feeding endurance for double-sided printing. | Rear Tray,Cassette,Cassette2 50copy / 100copy
|  | A3 | Checks A3 paper feeding endurance. | Rear Tray,Cassette,Cassette2 50copy / 100copy
|  | Hagaki | Checks Hagaki-sized paper feeding endurance. | Rear Tray,Cassette 10copy / 20copy
Other | CD-R Correction | Print | Prints the printable disc check pattern.
|  | Zero | Resets the Disc Label print position correction values. | (0, 0)
|  | X,Y | Adjust the printable disc print position. | -1.0,-0.8,-0.6,-0.4,-0.2,-0.1,0,+0.1,+0.2,+0.4,+0.6,+0.8,+1.0
| LF/EJECT Correction | Print | Prints the LF / Eject correction pattern. | Rear Tray,Cassette HR-101,GF-500 Office,HP BrightWhite,Canon Extra,STEINBEIS,PR-201,SG-201 No,Yes A4,LTR
|  | LF | Sets the LF correction value. | Pattern0, Pattern1, Pattern2, Pattern3,Pattern4
|  | EJECT | Sets the Eject correction value. | Pattern0, Pattern1, Pattern2, Pattern3,Pattern4
| Auto LF/EJ(1) | Print | Prints the LF / Eject correction pattern. | A4,LTR
|  | Scan | Scan the printed LF / Eject correction pattern.
| Auto LF/EJ(2) | Print | Prints the LF / Eject correction pattern.
|  | Scan | Scan the printed LF / Eject correction pattern.
|  | Blank Paper | Feeds and ejects a sheet of blank paper.
| Left Margin Correction | Print | Prints the left margin correction pattern.
|  | Paper Source | Selects the tray from which the correction pattern is printed. | Rear Tray:Back,Cassette:Front,Cassette:Back
|  | Correction Value | Sets the left margin correction value. | -3,-2,-1,+1,+2,+3
| Operation | Set Time | Sets the connected PC's time to the printer.
|  | PTT Parameter Mode In | Enters the PTT parameter mode when clicked.
|  | User Parameter Reset | Resets the user parameter.
|  | Ink Sensor | Corrects variation of the pressure sensor.
|  | Head Temp Sensor | Corrects the diode sensor of the print head.
| Wetting Liquid Counter | Counter Value(%) | Sets the wetting liquid counter value. | 0,10,20,30,40,50,60,70,80,90
| Panel Rank | Rank | Sets the sensitivity rank of the capacitive sensors of operation panel. | Rank0,Rank1,Rank2,Rank3
| Flatbed Scanner | Set | Adjusts variation of the flat bed scanner.
Auto | Auto | Test Print | Prints the service pattern. | Rear Tray,Cassette
|  | EEPROM Print | Prints the EEPROM information. | Rear Tray,Cassette
|  | Copy | Copies one sheet of paper. | Rear Tray,Cassette
|  | ADF Copy | Copies one sheet of paper in the ADF. | Rear Tray,Cassette
|  | LAN | Checks the LAN functionality.
|  | WLAN | Checks the WLAN board.
|  | Card Board | Checks the card board.
|  | Pict Bridge | Checks the PictBridge.
Pro |  | Test Print | Prints the service pattern. |  | < Pro >
|  | EEPROM | Prints the EEPROM information.
| Print | Nozzle Check | Prints the nozzle check pattern.
|  | Integration | Prints the integrated service pattern.
|  | Auto Cleaning | Enables automatic print head cleaning when selected.
|  | Cleaning | Performs print head cleaning.
| Cleaning | Deep Cleaning | Performs print head deep cleaning.
|  | User Cleaning OFF | Disabling of automatic print head cleaning at start of the printer in the user mode after exit from the service mode. (Manual print head cleaning can be performed.)
|  | User Parameter Reset | Resets the user parameter.
|  | Panel Check | Checks the operation panel.
| Operation | Ink Filling | Performs the initial ink filling.
|  | Set Time | Sets the connected PC's time to the printer.
|  | Ink Sensor | Corrects variation of the pressure sensor.
|  | Head Temp Sensor | Corrects the diode sensor of the print head.
|  | EEPROM save | Displays or saves the EEPROM information.
| Data Save | Color Calib Save | Saves the color calibration information.
|  | Media Save | Saves the media information.
| Set Destination | Region | Sets the destination.
| P/S Head Info | Preparation | Prepares to save the print head information
|  | Read | Reads and saves the print head information
| Ink Absorber Counter | Counter Value(%) | Selects the ink absorber counter to be set.
|  | Print | Prints the LF / Eject correction pattern.
| Auto LF/EJ(2) | Scan | Scan the printed LF / Eject correction pattern.
|  | Blank Paper | Feeds and ejects a sheet of blank paper.
| Auto LF/EJ(3) | Print | Performs the LF correction.
| Wetting Liquid Counter | Counter Value(%) | Sets the wetting liquid counter value.
| Clear Platen Pump Counter | Set | Clears the platen pump counter.
|  | Head Alignment(Auto) | Performs the print head alignment.
| Alignment | Dynamic Head Alignment | Corrects the ink dot misplacement caused by carriage position.
|  | Multi Sensor Alignment | Corrects the multi sensor installation error.
Note: Before use of the new function(s), be sure to refer to the Service Manual.